## MG241212_CB Samples DOC
Report ID | Instrument Name | Instrument Version | Schedule Name | Sample Timestamp | Sample Number | Sample ID | Sample Type | Mean (per analysis type) | Replicate Count | Vial Position | PPM | Adjusted ABS | Sample Pressure (psig) | Method Name
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:17 | 1 | Clean | Clean |  | 4 | (Clean) |  | -0.07 | 50.267
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:17 | 1 | Clean | Clean |  | 4 | (Clean) |  | 24.46 | 50.625
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:17 | 1 | Clean | Clean |  | 4 | (Clean) |  | 5.74 | 50.822
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:17 | 1 | Clean | Clean |  | 4 | (Clean) |  | 3.95 | 50.064
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:40 | 2 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 11.76 | 49.73
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:40 | 2 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 9.09 | 50.924
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:40 | 2 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 4.44 | 50.023
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:40 | 2 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 3.07 | 50.795
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:40 | 2 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 8.48 | 50.846
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 14:40 | 2 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 2.03 | 50.08
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:14 | 3 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 9.69 | 49.636
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:14 | 3 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 7.21 | 51.012
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:14 | 3 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 3.01 | 50.637
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:14 | 3 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 1.95 | 50.461
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:14 | 3 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 7.98 | 50.928
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:14 | 3 | Reagent/Acid Blank | Blank |  | 6 | (Blank) |  | 1.8 | 50.296
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:49 | 4 | MQ Rinse | Samples | 0.3092 | 3 | D | 0.2984 | 8.5 | 50.427 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:49 | 4 | MQ Rinse | Samples | 0.3092 | 3 | D | 0.2966 | 8.47 | 50.54 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 15:49 | 4 | MQ Rinse | Samples | 0.3092 | 3 | D | 0.3327 | 9.02 | 50.643 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:07 | 5 | MDL (0.2) | Samples | 0.2166 | 2 | 1 | 0.2196 | 7.31 | 50.496 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:07 | 5 | MDL (0.2) | Samples | 0.2166 | 2 | 1 | 0.2136 | 7.22 | 50.513 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:20 | 6 | QCS (18) | Samples | 15.5627 | 2 | C | 15.327 | 235.05 | 50.589 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:20 | 6 | QCS (18) | Samples | 15.5627 | 2 | C | 15.7984 | 242.16 | 50.658 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:34 | 7 | QCB | Samples | 0.0245 | 2 | B | 0.0462 | 4.7 | 50.348 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:34 | 7 | QCB | Samples | 0.0245 | 2 | B | 0.0028 | 4.05 | 50.541 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:47 | 8 | CCV1 (10) | Samples | 9.6577 | 2 | A | 9.5548 | 148.04 | 50.428 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 16:47 | 8 | CCV1 (10) | Samples | 9.6577 | 2 | A | 9.7606 | 151.14 | 50.549 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:01 | 9 | CCB1 | Samples | 0.023 | 2 | B | 0.0333 | 4.51 | 50.408 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:01 | 9 | CCB1 | Samples | 0.023 | 2 | B | 0.0126 | 4.19 | 50.693 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:15 | 10 | CB Blank | Samples | 0.1666 | 2 | 2 | 0.1752 | 6.64 | 50.374 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:15 | 10 | CB Blank | Samples | 0.1666 | 2 | 2 | 0.158 | 6.38 | 50.525 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:28 | 11 | MWR NE | Samples | 2.7071 | 2 | 3 | 2.7227 | 45.05 | 50.399 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:28 | 11 | MWR NE | Samples | 2.7071 | 2 | 3 | 2.6915 | 44.58 | 50.565 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:41 | 12 | MWR SE | Samples | 12.2874 | 2 | 4 | 12.0566 | 185.75 | 50.58 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:41 | 12 | MWR SE | Samples | 12.2874 | 2 | 4 | 12.5182 | 192.71 | 50.394 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:55 | 13 | MWR N/S | Samples | 44.1582 | 2 | 5 | 40.7138 | 617.74 | 50.48 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 17:55 | 13 | MWR N/S | Samples | 44.1582 | 2 | 5 | 47.6026 | 721.59 | 50.57 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:08 | 14 | CCV2 | Samples | 10.5657 | 2 | A | 10.4689 | 161.82 | 50.686 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:08 | 14 | CCV2 | Samples | 10.5657 | 2 | A | 10.6625 | 164.73 | 50.712 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:22 | 15 | CCB2 | Samples | 0.4241 | 2 | B | 0.4186 | 10.31 | 50.437 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:22 | 15 | CCB2 | Samples | 0.4241 | 2 | B | 0.4296 | 10.48 | 50.566 | TOC Waste Water
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:35 | 16 | Clean | Clean |  | 4 | (Clean) |  | -2.11 | 50.049
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:35 | 16 | Clean | Clean |  | 4 | (Clean) |  | 14.87 | 50.38
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:35 | 16 | Clean | Clean |  | 4 | (Clean) |  | 10.47 | 50.376
mario (mario)[509f35d8-ec19-4652-bbd7-857d56ce35cc] | Fusion | 1 | MG241212_CB Samples DOC | 2024-12-12 18:35 | 16 | Clean | Clean |  | 4 | (Clean) |  | 6.17 | 50.053

## Calibration
Sample ID | Curve Value | NDIR (ADJUSTED ABS) | Average | %RPD
[TOC] TOC 20ppm CAL [DI Water] | 0 | 4.46
[TOC] TOC 20ppm CAL [DI Water] | 0 | 4.67 | 4.565 | 4.6002
[TOC] TOC 20ppm CAL [0.4] | 0.4 | 10.44
[TOC] TOC 20ppm CAL [0.4] | 0.4 | 10.41 | 10.425 | 0.28777
[TOC] TOC 20ppm CAL [1] | 1 | 20.31
[TOC] TOC 20ppm CAL [1] | 1 | 19.42 | 19.865 | 4.4802
[TOC] TOC 20ppm CAL [2] | 2 | 35.1
[TOC] TOC 20ppm CAL [2] | 2 | 34.74 | 34.92 | 1.0309
[TOC] TOC 20ppm CAL [5] | 5 | 80.88
[TOC] TOC 20ppm CAL [5] | 5 | 81.77 | 81.325 | 1.0944
[TOC] TOC 20ppm CAL [10] | 10 | 159.12
[TOC] TOC 20ppm CAL [10] | 10 | 162.29 | 160.705 | 1.9726
[TOC] TOC 20ppm CAL [20.000 ppm] | 20 | 298.65
[TOC] TOC 20ppm CAL [20.000 ppm] | 20 | 310.31 | 304.48 | 3.8295
%RPD <10

## QC
Sample ID | PPM C | Mean ppm C | %R | %RPD
MDL | 0.2196
MDL | 0.2136 | 0.2166 | 108.3 | 2.7701 | *%R MDL- 45-145
QCS | 15.327
QCS | 15.7984 | 15.5627 | 86.4594 | 3.029 | *%R 85-115
CCV1 | 9.5548
CCV1 | 9.7606 | 9.6577 | 96.577 | 2.1309
CCV2 | 10.4689
CCV2 | 10.6625 | 10.5657 | 105.657 | 1.8323
QCB | 0.0462
QCB | 0.0028
CCB1 | 0.0333
CCB1 | 0.0126
CCB2 | 0.4186
CCB2 | 0.4296
Average | 0.15718

## Samples
Sample ID | PPM C | Mean ppm C | %RPD | umol/L C
CB Blank | 0.1752
CB Blank | 0.158 | 0.1666 | 10.3241 | 13.8711
MWR NE | 2.7227
MWR NE | 2.6915 | 2.7071 | 1.1525 | 225.3931
MWR SE | 12.0566
MWR SE | 12.5182 | 12.2874 | 3.7567 | 1023.0489
MWR N/S | 40.7138
MWR N/S | 47.6026 | 44.1582 | 15.6003 | 3676.6117

## Reported Results
Sample ID | umol/L C
CB Blank | 13.8711
MWR NE | 225.3931
MWR SE | 1023.0489
MWR N/S | 3676.6117

## C.A.L
Attachment 1
CESE
Corrective Action Log
Analyst: | Mike Glinski |  | Instrument: Fusion
Date of Analysis: | 2024-12-12 |  | Method: TOC | Waste Water, 1:10 Dilution
Project Number(s)/Batch Numbers | Excursions | Affected Samples | Criteria Comparison | Corrective Action/Explanation
CB Samples | Sample>20PPM | MWR N/S | Blank Avg<MDL | Above Curve: Dilute and Retest
Below Detection Limit: Retest
Above Curve: Dilute and Retest
Reviewed by: | Mike Glinski |  |  | 2024-12-20
| QA/QC Reviewer |  |  | Date
| Project Investigator |  |  | Date