## MG241219_HB2412 NH4
ANAL | Ammonia Std1.ANL
RUN | MG241219_HB2412R1R1.RUN
DATE | 12/20/2024
TIME | 10:56:52 AM
OPER
COMM | Recalculate from RunMG241219_HB2412R1.RUN
TYPE | [7 empty] | Real |  |  |  |  | Real
CHAN | [7 empty] | 3 |  |  |  |  | 4
METH | [7 empty] | Method 3 |  |  |  |  | Method 4 -
UNIT
Base | [7 empty] | 0 |  |  |  |  | -16936
Gain | [7 empty] | 10 |  |  |  |  | 49
FIT | [7 empty] | Q |  |  |  |  | Q
COEFF | [7 empty] | 0 |  |  |  |  | 0.9998
Sample ID | Peak Number | Cup Number | Cup Type | Cup Group |  |  | Calibrants 3 | Results 3 | AD Values | mAU | Post Dilution | Calibrants 4 | Results 4 | AD Values | mAU | Post Dilution
Primer | 1 | 1 | PRIM | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 24.701 | 56213 | 166.09 | 1
Drift | 2 | 2 | DRIF | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 25.473 | 57851 | 171.19 | 1
Blank | 3 | 3 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.299 | 4193 | 4.1 | 1
Blank | 4 | 4 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.226 | 4035 | 3.61 | 1
Cal. | 5 | 5 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 0 | 0.233 | 4050 | 3.65 | 1
Cal. | 6 | 6 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 1 | 0.997 | 5686 | 8.75 | 1
Cal. | 7 | 7 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 2.5 | 2.509 | 8924 | 18.83 | 1
Cal. | 8 | 8 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 5 | 5.214 | 14708 | 36.84 | 1
Cal. | 9 | 9 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 12.5 | 12.331 | 29901 | 84.16 | 1
Cal. | 10 | 10 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 25 | 25.032 | 56914 | 168.28 | 1
ICV | 11 | 11 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 28.594 | 64468 | 191.8 | 1
ICB | 12 | 12 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.121 | 3811 | 2.91 | 1
MDL | 13 | 13 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.052 | 3663 | 2.45 | 1
QCS | 14 | 14 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 10.443 | 25875 | 71.62 | 1
CCV1 | 15 | 15 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 12.606 | 30488 | 85.98 | 1
CCB1 | 16 | 16 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.533 | 4693 | 5.66 | 1
HB241201 | 17 | 17 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.053 | 3665 | 2.45 | 1
2 | 18 | 18 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.661 | 7109 | 13.18 | 1
3 | 19 | 19 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.418 | 6588 | 11.56 | 1
4 | 20 | 20 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.838 | 7487 | 14.36 | 1
5 | 21 | 21 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.318 | 4234 | 4.23 | 1
6 | 22 | 22 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.446 | 4508 | 5.08 | 1
7 | 23 | 23 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.085 | 3733 | 2.67 | 1
8 | 24 | 24 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.223 | 6170 | 10.25 | 1
9 | 25 | 25 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.467 | 4551 | 5.21 | 1
10 | 26 | 26 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.374 | 4353 | 4.6 | 1
CCV2 | 27 | 27 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 12.316 | 29870 | 84.06 | 1
Baseline | 28 | 0 | BASL | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.315 | 2877 | 0 | 1
11 | 29 | 29 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.16 | 6036 | 9.84 | 1
12 | 30 | 30 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.316 | 6370 | 10.88 | 1
14 | 31 | 31 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 5.398 | 15101 | 38.07 | 1
15 | 32 | 32 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 3.304 | 10624 | 24.12 | 1
16 | 33 | 33 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.452 | 8802 | 18.45 | 1
17 | 34 | 34 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.705 | 5061 | 6.8 | 1
18 | 35 | 35 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.559 | 4749 | 5.83 | 1
19 | 36 | 36 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.841 | 5353 | 7.71 | 1
20 | 37 | 37 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.257 | 6243 | 10.48 | 1
21 | 38 | 38 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.907 | 5494 | 8.15 | 1
CCV3 | 39 | 39 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 12.83 | 30966 | 87.47 | 1
CCB3 | 40 | 40 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.054 | 3668 | 2.46 | 1
Baseline | 41 | 0 | BASL | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.315 | 2877 | 0 | 1
22 | 42 | 1 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.3 | 4194 | 4.1 | 1
23 | 43 | 2 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.585 | 6946 | 12.67 | 1
24 | 44 | 3 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.21 | 4001 | 3.5 | 1
25 | 45 | 4 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.726 | 7248 | 13.61 | 1
26 | 46 | 5 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.98 | 5651 | 8.64 | 1
27 | 47 | 6 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.488 | 4597 | 5.36 | 1
29 | 48 | 7 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.964 | 5617 | 8.53 | 1
30 | 49 | 8 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.246 | 4078 | 3.74 | 1
31 | 50 | 9 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.453 | 4522 | 5.12 | 1
32 | 51 | 10 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.881 | 7579 | 14.64 | 1
CCV4 | 52 | 11 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 13.964 | 33381 | 94.99 | 1
CCB4 | 53 | 12 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0 | 3551 | 2.1 | 1
34 | 54 | 13 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.341 | 4282 | 4.38 | 1
35 | 55 | 14 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.901 | 5481 | 8.11 | 1
36 | 56 | 15 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 9.964 | 24853 | 68.44 | 1
37 | 57 | 16 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.376 | 6499 | 11.28 | 1
38 | 58 | 17 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.356 | 4314 | 4.47 | 1
39 | 59 | 18 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.819 | 5305 | 7.56 | 1
40 | 60 | 19 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.673 | 4994 | 6.59 | 1
41 | 61 | 20 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.27 | 4131 | 3.91 | 1
42 | 62 | 21 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.196 | 3972 | 3.41 | 1
46 | 63 | 22 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.831 | 5332 | 7.65 | 1
CCV5 | 64 | 23 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 12.784 | 30866 | 87.16 | 1
CCB5 | 65 | 24 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.041 | 3639 | 2.37 | 1
47 | 66 | 25 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.437 | 4488 | 5.02 | 1
49 | 67 | 26 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.028 | 5753 | 8.96 | 1
50-1 | 68 | 27 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.519 | 4664 | 5.56 | 1
50-2 | 69 | 28 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.003 | 7840 | 15.46 | 1
51 | 70 | 29 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.963 | 5615 | 8.53 | 1
52 | 71 | 30 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.353 | 6449 | 11.12 | 1
53 | 72 | 31 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.917 | 5516 | 8.22 | 1
54 | 73 | 32 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.303 | 4201 | 4.12 | 1
55 | 74 | 33 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.73 | 5116 | 6.97 | 1
56 | 75 | 34 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.61 | 4859 | 6.17 | 1
CCV6 | 76 | 35 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 12.842 | 30991 | 87.55 | 1
CCB6 | 77 | 36 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.074 | 3710 | 2.59 | 1
60 | 78 | 37 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.034 | 5767 | 9 | 1
61 | 79 | 38 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.504 | 6772 | 12.13 | 1
62 | 80 | 39 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.588 | 4812 | 6.03 | 1
63 | 81 | 40 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.434 | 6623 | 11.67 | 1
Baseline | 82 | 0 | BASL | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.315 | 2877 | 0 | 1
64 | 83 | 1 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.95 | 5587 | 8.44 | 1
65 | 84 | 2 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.156 | 3885 | 3.14 | 1
66 | 85 | 3 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.965 | 5618 | 8.54 | 1
67 | 86 | 4 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.119 | 5949 | 9.57 | 1
68 | 87 | 5 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.238 | 4062 | 3.69 | 1
69 | 88 | 6 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.136 | 3844 | 3.01 | 1
70 | 89 | 7 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.231 | 4047 | 3.64 | 1
71 | 90 | 8 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.341 | 4283 | 4.38 | 1
CB Blank | 91 | 9 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.303 | 4201 | 4.12 | 1
MWR NE | 92 | 10 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.789 | 9523 | 20.7 | 1
MWR SE | 93 | 11 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 16.067 | 37861 | 108.94 | 1
MWR N/S Unfiltered | 94 | 12 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 211.497 | 439764 | 1360.5 | 1
CCV7 | 95 | 13 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 13.24 | 31839 | 90.19 | 1
CCB7 | 96 | 14 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.112 | 3792 | 2.85 | 1
Drift | 97 | 15 | DRIF | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 25.473 | 57851 | 171.19 | 1
End | 98 | 0 | END | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.315 | 2877 | 0 | 1

## Calibration
Sample ID | NH4 AD Values | Calculted Results | %R
25 | 56914 | 25.032 | 100.128
12.5 | 29901 | 12.331 | 98.648
5 | 14708 | 5.214 | 104.28
2.5 | 8924 | 2.509 | 100.36
1 | 5686 | 0.997 | 99.7
0 | 4050 | 0.233
NH4 AD Values | Sample ID
56914 | 25.032
29901 | 12.331
14708 | 5.214
8924 | 2.509
5686 | 0.997
4050 | 0.233

## QC
Sample ID | Results 4 | %R
ICV | 28.594 | 95.3133
MDL | 0.052 | 10.4
QCS | 10.443 | 83.544
CCV1 | 12.606 | 100.848
CCV2 | 12.316 | 98.528
CCV3 | 12.83 | 102.64
CCV4 | 13.964 | 111.712
CCV5 | 12.784 | 102.272
CCV6 | 12.842 | 102.736
CCV7 | 13.24 | 105.92
icb | 0.121
CCB1 | 0.533
CCB3 | 0.054
CCB4 | 0
CCB5 | 0.041
CCB6 | 0.074
CCB7 | 0.112
Average | 0.13357

## Reported Results
Sample ID | Results
HB241201 | 0.053
2 | 1.661
3 | 1.418
4 | 1.838
5 | 0.318
6 | 0.446
7 | 0.085
8 | 1.223
9 | 0.467
10 | 0.374
11 | 1.16
12 | 1.316
14 | 5.398
15 | 3.304
16 | 2.452
17 | 0.705
18 | 0.559
19 | 0.841
20 | 1.257
21 | 0.907
22 | 0.3
23 | 1.585
24 | 0.21
25 | 1.726
26 | 0.98
27 | 0.488
29 | 0.964
30 | 0.246
31 | 0.453
32 | 1.881
34 | 0.341
35 | 0.901
36 | 9.964
37 | 1.376
38 | 0.356
39 | 0.819
40 | 0.673
41 | 0.27
42 | 0.196
46 | 0.831
47 | 0.437
49 | 1.028
50-1 | 0.519
50-2 | 2.003
51 | 0.963
52 | 1.353
53 | 0.917
54 | 0.303
55 | 0.73
56 | 0.61
60 | 1.034
61 | 1.504
62 | 0.588
63 | 1.434
64 | 0.95
65 | 0.156
66 | 0.965
67 | 1.119
68 | 0.238
69 | 0.136
70 | 0.231
71 | 0.341
CB Blank | 0.303
MWR NE | 2.789
MWR SE | 16.067
MWR N/S Unfiltered | 211.497

## CB Results
Sample ID | Results
CB Blank | 0.303
MWR NE | 2.789
MWR SE | 16.067
MWR N/S Unfiltered | 211.497

## C.A.L.
Attachment 1
CESE
Corrective Action Log
Analyst: | Mike Glinski |  | Instrument: NH4
Date of Analysis: | 2024-12-20 |  | Method: NH4
Project Number(s)/Batch Numbers | Excursions | Affected Samples | Criteria Comparison | Corrective Action/Explanation
HB2412 | Below Lowest Passing Standard | Highlighted in orange | 1uMol/L<Sample<25uMol/L | Below Dection Limit: Values reported as "BDL"
MDL | MDL %R<45 | Values 0.5uM-1uM | %R 45-145 | Lowest passing standard of 1uM will be detection limit
CB Samples | Sample>25uMol/L | MWR N/S Unfiltered | 1uMol/L<Sample<25uMol/L | Above Curve: Dilute and Retest
Above Curve: Dilute and Retest
Below Dection Limit: Retest
Reviewed by: | Mike Glinski |  |  | 2024-12-20
| QA/Qc Reviewer |  |  | Date
| Project Investigator |  |  | Date