## MG250123_HB2501+2412CCASE+CB Am
ANAL | Ammonia Std1.ANL
RUN | MG250123_HB2501+2412CCASE+CBR1.RUN
DATE | 1/23/2025
TIME | 11:20:23 AM
OPER
COMM | Recalculate from RunMG250123_HB2501+2412CCASE+CBR1
TYPE | [7 empty] | Real |  |  |  |  | Real
CHAN | [7 empty] | 3 |  |  |  |  | 4
METH | [7 empty] | Method 3 |  |  |  |  | Method 4 -
UNIT | [12 empty] | µmol/L
Base | [7 empty] | 0 |  |  |  |  | -16778
Gain | [7 empty] | 10 |  |  |  |  | 87
FIT | [7 empty] | Q |  |  |  |  | L
COEFF | [7 empty] | 0 |  |  |  |  | 0.9998
Sample ID | Peak Number | Cup Number | Cup Type | Cup Group |  |  | Calibrants 3 | Results 3 | AD Values | mAU | Post Dilution | Calibrants 4 | Results 4 | AD Values | mAU | Post Dilution
Primer | 1 | 1 | PRIM | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 22.894 | 54234 | 89.77 | 1
Drift | 2 | 2 | DRIF | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 24.287 | 57348 | 95.23 | 1
Blank | 3 | 3 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.198 | 3516 | 0.82 | 1
Blank | 4 | 4 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.145 | 3396 | 0.61 | 1
Blank | 5 | 5 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.029 | 3008 | -0.07 | 1
MDL | 6 | 6 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.207 | 3536 | 0.85 | 1
Cal. | 7 | 7 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 0 | 0.272 | 3680 | 1.1 | 1
Cal. | 8 | 8 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 1 | 0.847 | 4966 | 3.36 | 1
Cal. | 9 | 9 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 2.5 | 2.364 | 8356 | 9.31 | 1
Cal. | 10 | 10 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 5 | 4.833 | 13874 | 18.98 | 1
Cal. | 11 | 11 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 12.5 | 12.802 | 31681 | 50.22 | 1
Cal. | 12 | 12 | CALB | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 25 | 24.892 | 58700 | 97.61 | 1
icv | 13 | 13 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 27.55 | 64640 | 108.02 | 1
icb | 14 | 14 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.139 | 2763 | -0.5 | 1
QCS | 15 | 15 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 10.166 | 25791 | 39.89 | 1
CCV1 | 16 | 16 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 13.141 | 32440 | 51.55 | 1
CCB1 | 17 | 17 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.222 | 3569 | 0.91 | 1
MWR N/S (1:20) | 18 | 18 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 16.668 | 40321 | 65.37 | 1
CCASE 127 | 19 | 19 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.644 | 4511 | 2.56 | 1
128 | 20 | 20 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.518 | 4230 | 2.07 | 1
129 | 21 | 21 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.225 | 3576 | 0.92 | 1
130 | 22 | 22 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.214 | 3552 | 0.88 | 1
131 | 23 | 23 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.235 | 3599 | 0.96 | 1
132 | 24 | 24 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.125 | 3353 | 0.53 | 1
133 | 25 | 25 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.446 | 4070 | 1.79 | 1
134 | 26 | 26 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.243 | 3617 | 0.99 | 1
135 | 27 | 27 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.26 | 3655 | 1.06 | 1
CCV2 | 28 | 28 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 13.714 | 33720 | 53.79 | 1
CCB2 | 29 | 29 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.253 | 3639 | 1.03 | 1
136 | 30 | 30 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.027 | 5368 | 4.07 | 1
HB250101 | 31 | 31 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.576 | 4361 | 2.3 | 1
02 | 32 | 32 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.033 | 5382 | 4.09 | 1
03 | 33 | 33 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 3.745 | 11442 | 14.72 | 1
04 | 34 | 34 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.752 | 9223 | 10.83 | 1
05 | 35 | 35 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.128 | 5593 | 4.46 | 1
06 | 36 | 36 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.993 | 5291 | 3.93 | 1
07 | 37 | 37 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.144 | 5630 | 4.53 | 1
08-1 | 38 | 38 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.893 | 5068 | 3.54 | 1
08-2 | 39 | 39 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.655 | 9007 | 10.45 | 1
CCV3 | 40 | 40 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 14.104 | 34592 | 55.32 | 1
Baseline | 41 | 0 | BASL | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.01 | 3050 | 0 | 1
CCB3 | 42 | 1 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.547 | 4296 | 2.19 | 1
10 | 43 | 2 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 3.559 | 11026 | 13.99 | 1
11 | 44 | 3 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.396 | 6192 | 5.51 | 1
12 | 45 | 4 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.864 | 7239 | 7.35 | 1
13 | 46 | 5 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.075 | 7711 | 8.17 | 1
14 | 47 | 6 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.636 | 8963 | 10.37 | 1
15 | 48 | 7 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.253 | 5874 | 4.95 | 1
16 | 49 | 8 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.614 | 6680 | 6.37 | 1
17 | 50 | 9 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.025 | 7599 | 7.98 | 1
18 | 51 | 10 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.812 | 9358 | 11.06 | 1
19 | 52 | 11 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.78 | 9285 | 10.94 | 1
CCV4 | 53 | 12 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 14.633 | 35774 | 57.39 | 1
CCB4 | 54 | 13 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.916 | 5120 | 3.63 | 1
20 | 55 | 14 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 8.512 | 22094 | 33.4 | 1
21 | 56 | 15 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.707 | 6887 | 6.73 | 1
22 | 57 | 16 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 3.833 | 11638 | 15.06 | 1
23 | 58 | 17 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 6.751 | 18160 | 26.5 | 1
24 | 59 | 18 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.454 | 6322 | 5.74 | 1
25 | 60 | 19 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 6.481 | 17557 | 25.44 | 1
26 | 61 | 20 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.773 | 7034 | 6.99 | 1
27 | 62 | 21 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.08 | 5486 | 4.27 | 1
28 | 63 | 22 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 12.326 | 30619 | 48.35 | 1
29 | 64 | 23 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.967 | 5235 | 3.83 | 1
CCV5 | 65 | 24 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 14.944 | 36469 | 58.61 | 1
CCB5 | 66 | 25 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.661 | 4549 | 2.63 | 1
30 | 67 | 26 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.142 | 5624 | 4.51 | 1
31 | 68 | 27 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.212 | 8017 | 8.71 | 1
32 | 69 | 28 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 6.54 | 17687 | 25.67 | 1
34 | 70 | 29 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.146 | 5633 | 4.53 | 1
35 | 71 | 30 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.639 | 8970 | 10.38 | 1
36 | 72 | 31 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 5.188 | 14667 | 20.38 | 1
37 | 73 | 32 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.631 | 6718 | 6.43 | 1
48 | 74 | 33 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.789 | 9306 | 10.97 | 1
49 | 75 | 34 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.46 | 6335 | 5.76 | 1
CCV6 | 76 | 35 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 15.097 | 36811 | 59.21 | 1
CCB6 | 77 | 36 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.906 | 5098 | 3.59 | 1
50-1 | 78 | 37 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.97 | 5241 | 3.84 | 1
50-2 | 79 | 38 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.691 | 6851 | 6.67 | 1
51 | 80 | 39 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.553 | 6543 | 6.13 | 1
52 | 81 | 40 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.523 | 6477 | 6.01 | 1
Baseline | 82 | 0 | BASL | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | -0.01 | 3050 | 0 | 1
53 | 83 | 1 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.254 | 8109 | 8.87 | 1
54 | 84 | 2 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.799 | 7094 | 7.09 | 1
55 | 85 | 3 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.166 | 5679 | 4.61 | 1
56 | 86 | 4 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.892 | 7301 | 7.46 | 1
57 | 87 | 5 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.948 | 5192 | 3.76 | 1
60 | 88 | 6 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 2.46 | 8570 | 9.68 | 1
61 | 89 | 7 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.627 | 4474 | 2.5 | 1
63 | 90 | 8 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.468 | 6353 | 5.79 | 1
64 | 91 | 9 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.697 | 4630 | 2.77 | 1
65 | 92 | 10 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 3.521 | 10941 | 13.84 | 1
69 | 93 | 11 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 1.275 | 5923 | 5.04 | 1
70 | 94 | 12 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.644 | 4511 | 2.56 | 1
71 | 95 | 13 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0.993 | 5292 | 3.93 | 1
CCV7 | 96 | 14 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 14.468 | 0 | -5.35 | 1
CCB7 | 97 | 15 | SAMP | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0 | 0 | -5.35 | 1
Drift | 98 | 16 | DRIF | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0 | 0 | -5.35 | 1
End | 99 | 0 | END | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 |  | 0 | 0 | -5.35 | 1

## Calibration
Sample ID | NH4 AD Values | Calculted Results | %R
25 | 58700 | 24.892 | 99.568
12.5 | 31681 | 12.802 | 102.416
5 | 13874 | 4.833 | 96.66
2.5 | 8356 | 2.364 | 94.56
1 | 4966 | 0.847 | 84.7
0 | 3680 | 0.272
NH4 AD Values | Sample ID
58700 | 24.892
31681 | 12.802
13874 | 4.833
8356 | 2.364
4966 | 0.847
3680 | 0.272

## QC
Sample ID | Results 4 | %R
ICV | 27.55 | 91.8333
MDL | 0.207 | 41.4
QCS | 10.166 | 81.328
CCV1 | 13.141 | 105.128
CCV2 | 13.714 | 109.712
CCV3 | 14.104 | 112.832
CCV4 | 14.633 | 117.064
CCV5 | 14.944 | 119.552
CCV6 | 15.097 | 120.776
CCV7 | 14.468 | 115.744
icb | -0.139
CCB1 | 0.222
CCB2 | 0.253
CCB3 | 0.547
CCB4 | 0.916
CCB5 | 0.661
CCB6 | 0.906
Average | 0.48086

## Reported Results
Sample ID | Results
MWR N/S (1:20) | 16.668 | 333.36
CCASE 127 | 0.644
128 | 0.518
129 | 0.225
130 | 0.214
131 | 0.235
132 | 0.125
133 | 0.446
134 | 0.243
135 | 0.26
136 | 1.027
HB250101 | 0.576
02 | 1.033
03 | 3.745
04 | 2.752
05 | 1.128
06 | 0.993
07 | 1.144
08-1 | 0.893
08-2 | 2.655
10 | 3.559
11 | 1.396
12 | 1.864
13 | 2.075
14 | 2.636
15 | 1.253
16 | 1.614
17 | 2.025
18 | 2.812
19 | 2.78
20 | 8.512
21 | 1.707
22 | 3.833
23 | 6.751
24 | 1.454
25 | 6.481
26 | 1.773
27 | 1.08
28 | 12.326
29 | 0.967
30 | 1.142
31 | 2.212
32 | 6.54
34 | 1.146
35 | 2.639
36 | 5.188
37 | 1.631
48 | 2.789
49 | 1.46
50-1 | 0.97
50-2 | 1.691
51 | 1.553
52 | 1.523
53 | 2.254
54 | 1.799
55 | 1.166
56 | 1.892
57 | 0.948
60 | 2.46
61 | 0.627
63 | 1.468
64 | 0.697
65 | 3.521
69 | 1.275
70 | 0.644
71 | 0.993

## C.A.L.
Attachment 1
CESE
Corrective Action Log
Analyst: | Mike Glinski |  | Instrument: NH4
Date of Analysis: | 2025-01-23 |  | Method: NH4
Project Number(s)/Batch Numbers | Excursions | Affected Samples | Criteria Comparison | Corrective Action/Explanation
HB2412 | Below Lowest Passing Standard | Highlighted in orange | 1uMol/L<Sample<25uMol/L | Below Dection Limit: Values reported as "BDL"
MDL | MDL %R<45 | Values 0.5uM-1uM | %R 45-145 | Lowest passing standard of 1uM will be detection limit
Above Curve: Dilute and Retest
Below Dection Limit: Retest
Reviewed by: | Mike Glinski |  |  | 2025-01-27
| QA/Qc Reviewer |  |  | Date
| Project Investigator |  |  | Date